## Slide 1
1
Voice Disorder
Recognizer
GMM and DNN comparison with participant-disjoint validation
Academic submission • 24 October 2026
Research demonstration. Not a medical diagnosis.
Notes: This academic project compares Gaussian mixture and deep neural models for recognizing healthy versus pathological sustained vowels. We built a shared training and website pipeline and measured its limitations. The current revision has development validation only, not a new independent clinical test.
Sources:
README.md
V3_REPORT.md

## Slide 2
Research question and paper
2
Can GMM and DNN distinguish healthy and pathological
voices under participant-disjoint evaluation?
Input: a sustained aa vowel.
Main output: binary research prediction or Uncertain.
Subtype rankings: functional group, laryngitis and paresis.
The reference is a scoping review, not a model to reproduce.
It supports the methodology, not an accuracy target.
Notes: The main task is binary classification of a sustained aa vowel. The three disorder groups are exploratory and always uncertain. Gupta and colleagues reviewed 80 multiclass studies; the paper motivates speaker separation, complementary voice-quality features and honest external evaluation. It does not prove that GMM or DNN is the best model.
Sources:
V3_REPORT.md
Gupta et al. 2026: https://doi.org/10.3389/fdgth.2026.1800132

## Slide 3
Two datasets, 1,420 development participants
3
Source | Healthy | Pathological | Total
SVD | 660 | 552 | 1,212
VOICED | 57 | 151 | 208
Combined | 717 | 703 | 1,420
SVD median age: 22.5 years healthy vs 50.7 pathological.
All data are development. There is no new untouched external test.
Record counts do not establish independently verified clinical identities.
Notes: SVD contributes 1,212 unique speaker IDs after auditing. VOICED contributes 208 release record IDs used as participant proxies; identity cannot be independently reverified. The file labels give 57 healthy and 151 pathological VOICED records, rather than its website summary. All previously evaluated VOICED cases now count as development data. SVD healthy and pathological speakers differ greatly in age, which remains a potential confounder.
Sources:
artifacts_v3/dataset_audit.csv
artifacts_v3/voiced_label_audit.csv
https://zenodo.org/records/16874898
https://physionet.org/content/voiced/1.0.0/

## Slide 4
Audio-to-prediction pipeline
4
Stage | Operation
Audio checks | Type, duration, silence; central crop up to 5 seconds
Features | 97 acoustic measures; 40 × 128 log-Mel input for CNN
Preprocessing | Saved training-only imputer, scaler and PCA/selection
Models | GMM / MLP / CNN; optional 50/50 ensemble
Output | Binary score, uncertainty and exploratory subtype ranking
Shared feature specifications prevent training–website mismatch.
Notes: The website reuses training feature extraction and the saved transforms. It accepts WAV or MP3, checks duration and silence, and analyzes at most the central five seconds. We compare 16 and 8 kHz variants. The 97 features include MFCC and delta statistics, CPPS, HNR, pitch, jitter, shimmer and spectral measures. The CNN additionally sees log-Mel spectrograms. Models load once; invalid inputs produce an error rather than a fabricated output.
Sources:
svd_v3.py
voice_review/release_web.py
app.py

## Slide 5
Model selection and leakage controls
5
4 outer folds → 3 inner folds → model/preprocessing selection
12 configurations: 3 GMM + 2 MLP + 1 CNN, each at 8 and 16 kHz.
Separate fitting, calibration and stopping participants.
Training-only class/source balancing and spectrogram augmentation.
Selection gives both datasets equal importance.
Final selected configuration: MLP_medium_8000
Notes: We compare six configurations at each of two sampling rates: three GMMs, two MLPs and one CNN. Four outer participant-disjoint folds assess the entire selection procedure, with three inner folds choosing settings. Imputation, scaling and balancing occur only within fitting partitions. Separate participants support calibration and neural-network stopping. The selection objective gives SVD and VOICED equal importance. Scores within 0.01 prefer the simpler model. This reduces selection bias but does not erase prior knowledge of these datasets.
Sources:
svd_v3.py
artifacts_v3/protocol.json
artifacts_v3/nested_folds.json

## Slide 6
Nested development results
6
Source | Balanced accuracy | Sensitivity | Specificity
SVD | 68.95% | 60.33% | 77.58%
VOICED | 62.70% | 62.25% | 63.16%
pooled | 68.58% | 60.74% | 76.43%
Outer folds evaluate a selection procedure.
The final fitted artifact has no new independent test.
Notes: These numbers pool the outer held-out predictions of the selection procedure. They are not an untouched evaluation of the final refitted model. The complete report includes family comparisons, fold means and standard deviations, per-class results and participant bootstrap intervals. Do not compare these VOICED scores with the old external test as though both were independent tests.
Sources:
artifacts_v3/nested_metrics.csv
artifacts_v3/nested_summary.json
V3_REPORT.md

## Slide 7
Errors and the preserved external failure
7
Current development | Healthy → pathological | Pathological → healthy
SVD | 148 | 219
VOICED | 21 | 57
Historical v2 external test: 4 / 30 pathological cases detected
Balanced accuracy: 52.5%. The failed test remains unchanged.
New VOICED results are development evidence, not a fresh test.
Notes: The new source-specific confusion counts come from nested development evaluation. Earlier, the SVD-only v2 model was evaluated once on 42 reserved VOICED cases. It detected only four of thirty pathological recordings, giving balanced accuracy 0.525. We preserved that result. The current experiment uses VOICED as development, so its new scores cannot establish repaired external generalization.
Sources:
artifacts_v3/nested_summary.json
artifacts_svd_v2/external_binary_test_metrics.json

## Slide 8
Uncertainty and limits
8
No qualifying threshold: all binary outputs remain uncertain.
Outer-fold accepted coverage: SVD 19.39%; VOICED 12.98%.
Subtype rankings are always uncertain.
A high model score is not a medical probability.
No new external validation. Age/sex and recording differences persist.
The system cannot establish or rule out a voice disorder.
Notes: We tested confidence thresholds using inner validation, requiring minimum accuracy and coverage in each source. If none qualifies, every binary output is uncertain. Even a qualifying rule is not a clinical guarantee. We report outer-fold acceptance coverage and errors. All subtype predictions remain uncertain because the earlier subtype experiment did not support reliable identification. Unknown recording conditions, age and sex differences, short vowels and incomplete labels remain limitations.
Sources:
artifacts_v3/release.json
artifacts_v3/nested_summary.json
voice_review/release_web.py

## Slide 9
Demonstration and next steps
9
Upload → Analyze Voice → explain result and uncertainty
Warm inference median: 0.36 seconds on this laptop.
Supplied audio files are DEVELOPMENT demonstrations.
The local app works offline after installation.
Next: representative new speakers, confounder controls
and an untouched external evaluation.
Notes: For the demonstration, start the local app, choose a supplied development example and click Analyze Voice. Explain the binary result, uncertainty, two model scores and exploratory ranking. The files were chosen by source/label order, not by prediction correctness. Show a malformed or very short recording only if time allows. The local application does not need internet after installation. Next work requires representative new speakers and a genuinely untouched external cohort, not repeated tuning on the same demo files.
Sources:
demo_v3/manifest.csv
RUN_WEBSITE.md
artifacts_v3/runtime_benchmark.json
DEMO_AND_QA.md